## Guide
How this workbook is built
WHAT EACH SHEET IS FOR
ActivityUX Every learner activity with its interaction design and the evidence it captures. This is the deliverable.
CurriculumMap Module and lesson structure. Counts and durations compute from ActivityUX.
Coverage Checks that every objective in LO-MBPT-001 is both practised and scored. Flags holes automatically.
SessionFlow A forty five minute rotation with one shared AURA unit. The deployment model constrains the experience.
THE FOUR ACTIVITY TYPES
Present Teaches. No performance demanded, no scoring. Used sparingly.
Practice Rehearses with immediate feedback. Scaffolds visible. Does not count toward mastery.
Assess Scores. Feedback is held until the end of the attempt. Only Unaided scaffold states count toward mastery.
Reflect Reviews across attempts. Never pass or fail. Owns the trend measures that a single attempt cannot show.
THE SCAFFOLD LADDER
Guided The aid is present during the performance. Overlay visible, readout visible, pacer running.
Confirmatory The aid appears only after the learner commits. Teaches self checking rather than following.
Sound only Specific to auscultation. The gauge is occluded so the learner cannot substitute looking for listening.
Unaided Nothing. The only state that counts toward mastery, which is why attempt records must carry it.
DESIGN RULES APPLIED THROUGHOUT
1. Feedback in Practice is immediate. Feedback in Assess is held until the attempt ends. Mixing them teaches learners to fish for hints.
2. A discrepancy is never resolved by revealing the answer. The learner is asked to try again. Revealing the answer removes the objective.
3. Every Assess activity has at least one Practice activity for the same objective before it. Coverage flags any that do not.
4. Input never requires a hand that is holding equipment. Voice and gesture only during a live measurement.
5. Spoken judgement responses record whether the learner was prompted. Unprompted is the mastery condition for Domain E.
KNOWN GAPS, VISIBLE ON THE COVERAGE SHEET
Five objectives are spring only because they depend on the four clinical cases that cannot clear a review board before fall.
A7 hand hygiene is captured but remains self report on every surface and must never be reported as a measured competency.
D1 stethoscope placement is tracked by hand joint proxy and cannot assess skin contact quality. Partial assessment, stated in the product.

## CurriculumMap
Curriculum map, module and lesson structure
Counts and durations are computed from the ActivityUX sheet. Adding an activity there updates this automatically.
Module | Lesson | Lesson title | Activities | Minutes | Surface emphasis | Domains carried | Release
M0 | L0.1 | Orientation, equipment and setup | 3 | 8 | Both | Setup, no objectives | Fall
M1 | L1.1 | The procedure and why order matters | 3 | 19 | Either | A, sequencing | Spring
M1 | L1.2 | Screening the limb | 2 | 10 | Either | A | Fall
M1 | L1.3 | Positioning the patient | 3 | 16 | Glasses | A | Fall
M1 | L1.4 | Preparing the patient | 2 | 9 | Either | A | Fall
M2 | L2.1 | Measuring the arm | 3 | 12 | Glasses | B | Fall
M2 | L2.2 | Selecting by measurement | 3 | 16 | Either | B | Fall
M2 | L2.3 | The consequence of mis-sizing | 3 | 14 | Either | B | Fall
M2 | L2.4 | Applying the cuff | 3 | 13 | Glasses | B | Fall
M2 | L2.5 | Hard cases and boundaries | 3 | 14 | Glasses | B | Fall
M3 | L3.1 | Palpated estimate and inflation | 3 | 13 | Phone | C | Fall
M3 | L3.2 | Deflation rate control | 4 | 18 | Phone | C | Fall
M3 | L3.3 | Hearing the phases and placing the bell | 3 | 15 | Phone and glasses | C, D | Fall
M3 | L3.4 | Marking systolic and diastolic | 4 | 26 | Phone and glasses | D | Fall
M3 | L3.5 | Reading the dial precisely | 2 | 8 | Phone and glasses | D, F | Fall
M3 | L3.6 | Variation and pathology | 5 | 30 | Phone | D | Spring
M4 | L4.1 | Classify and document | 2 | 8 | Glasses | E | Fall
M4 | L4.2 | Escalation and scope of practice | 2 | 10 | Glasses | E | Fall
M4 | L4.3 | Reliability, repeat and averaging | 4 | 17 | Glasses | E | Fall
M5 | L5.1 | Attempt replay and error attribution | 2 | 11 | Glasses | F | Fall
M5 | L5.2 | Technique or perception | 1 | 4 | Glasses | F | Fall
M5 | L5.3 | Planning the next practice | 1 | 4 | Glasses | F | Fall
|  | TOTAL | 61 | 295
|  | Cross check against ActivityUX total | MATCH

## ActivityUX
Activity level user experience and assessment crosswalk
Every row is one learner activity. Type: Present teaches, Practice rehearses with feedback, Assess scores, Reflect reviews across attempts. Surface P is phone plus earbuds, G is AURA glasses. Only Unaided scaffold states count toward mastery.
Activity ID | Module | Lesson | Activity | Type | Min | Surface | Scaffold | Objectives | Entry state, what the learner sees | Learner action | Input | System response | Evidence captured | Exit condition | Release
A-0.1.1 | M0 | L0.1 | Equipment check and gauge zero | Present | 3 | P | n/a |  | Split view: live camera on the dial, and a checklist of what must be true | Hold the deflated cuff steady, confirm the needle rests at zero | Physical, tap | Green tick when the needle is read at zero; explanatory refusal if it is not | equipment_check | Needle read at zero, or gauge rejected | Fall
A-0.1.2 | M0 | L0.1 | Audio and stethoscope fit check | Present | 2 | P | n/a |  | A calibration tone plus a sample Korotkoff beat | Fit earpieces forward-facing, confirm the beat is audible | Tap | Confirms audibility; prompts refit if not confirmed | audio_check | Learner confirms audibility | Fall
A-0.1.3 | M0 | L0.1 | Spatial setup and arm anchor | Present | 3 | G | n/a |  | Prompt to look at the partner arm; depth mesh visualised briefly | Look at the arm, pinch to place the anchor | Gesture | Anchor placed at the antecubital fossa; mesh visualisation fades | spatial_anchor | Anchor stable for 3 seconds | Fall
A-1.1.1 | M1 | L1.1 | Guided walkthrough, all fourteen steps | Present | 8 | Either | Guided | A7 | One step at a time with a one line rationale beneath it | Read, advance, no performance required | Tap | Next step revealed; rationale expands on request | steps_viewed | All fourteen viewed | Spring
A-1.1.2 | M1 | L1.1 | Build the sequence | Practice | 6 | Either | Confirmatory |  | Fourteen shuffled step cards and an empty ordered column | Drag cards into a valid order | Drag | On submit, names the specific precedence rule violated, not just wrong | step_order_observed | Sequence score at or above 90 | Spring
A-1.1.3 | M1 | L1.1 | Spot the unsafe step | Assess | 5 | Either | Unaided | A1, A5 | A sequence with one planted out of order or unsafe step | Identify the fault and state why | Tap, voice | Correct or incorrect, with the clinical consequence explained | safety_gate_responses | Correct on 3 of 4 scenarios | Spring
A-1.2.1 | M1 | L1.2 | Screening six limbs | Practice | 6 | Either | Guided | A1 | Six patient cards, each with a limb history | Decide proceed, use other arm, or escalate | Tap | Immediate, with the contraindication named | safety_gate_responses | All six attempted | Fall
A-1.2.2 | M1 | L1.2 | Screening, unaided | Assess | 4 | Either | Unaided | A1 | Four new limbs, no prompts, no list of contraindications visible | Same decision, unaided | Tap | Held until the end of the set | safety_gate_responses | No error across four | Fall
A-1.3.1 | M1 | L1.3 | Positioning faults, predict the error | Practice | 6 | Either | Guided | A3 | A patient shown in a faulted position, one fault at a time | State the direction and rough size of the resulting error | Voice, tap | Reveals the published effect and compares it to the answer given | interpretation_response | Four faults attempted | Fall
A-1.3.2 | M1 | L1.3 | Position a real partner, guided | Practice | 6 | G | Guided | A2 | A heart level plane rendered across the partner torso, and a checklist of four conditions | Seat and position the partner until all four are met | Physical | Each condition ticks live as it is satisfied; arm height shown against the plane | vision_frames, depth | All four conditions met | Fall
A-1.3.3 | M1 | L1.3 | Position unaided, scored | Assess | 4 | G | Unaided | A2, A3 | No plane, no checklist. Only the partner. | Position, then declare ready | Voice | Held. Geometric check runs silently at the declaration | depth geometry | All four met on 3 consecutive | Fall
A-1.4.1 | M1 | L1.4 | Explain the procedure aloud | Practice | 3 | G | Guided | A6 | A prompt card listing what a patient needs to be told | Explain to the partner in the learner own words | Voice | Detects that an explanation occurred and its rough completeness, does not grade wording | spoken_responses | Explanation detected before limb contact | Fall
A-1.4.2 | M1 | L1.4 | Rest period and invalidating conditions | Practice | 6 | Either | Guided | A4, A5, A7 | A five minute timer, plus prompts about caffeine, nicotine, exercise, bladder, pain | Run the rest period, ask the screening questions, log hand hygiene | Voice, tap | Timer enforces the full five minutes; screening answers recorded | steps_completed, timer | Timer complete and screening answered | Fall
A-2.1.1 | M2 | L2.1 | Where to measure, demonstrated | Present | 3 | G | Guided | B1 | Acromion and olecranon highlighted on the real partner arm, midpoint marked | Watch, then locate the two landmarks by pointing | Gesture | Confirms landmark identification | landmarks_identified | Both landmarks located | Fall
A-2.1.2 | M2 | L2.1 | Measure with the overlay guide | Practice | 5 | G | Guided | B1 | Midpoint plane rendered on the arm; tape guidance visible | Measure with a real tape and speak the value | Physical, voice | Compares spoken value to the depth estimate; prompts a re-measure on discrepancy, never reveals the answer | arm_circumference_entered_cm, depth_circumference_estimate_cm | Agreement within 1.5 cm | Fall
A-2.1.3 | M2 | L2.1 | Measure unaided | Assess | 4 | G | Unaided | B1 | No overlay. The arm only. | Locate the midpoint and measure | Physical, voice | Held until the end of the attempt | circumference_discrepancy_cm | Within 1.5 cm on 3 consecutive | Fall
A-2.2.1 | M2 | L2.2 | The size chart, explored | Present | 4 | Either | Guided | B2, B6 | Interactive chart of circumference ranges against cuff categories | Explore. Try circumferences and see which cuff results | Tap | Shows the resulting category and the bladder ratio | chart_explored | Four categories explored | Fall
A-2.2.2 | M2 | L2.2 | Select with the chart visible | Practice | 5 | Either | Guided | B2 | A measured circumference and the chart side by side | Choose the cuff | Tap | Immediate correct or incorrect with the ratio shown | cuff_selected | Six trials attempted | Fall
A-2.2.3 | M2 | L2.2 | Select unaided, ten trials | Assess | 7 | Either | Unaided | B2 | Circumference only. No chart. | Choose the cuff | Tap | Held to the end of the set | cuff_selected, habitus_form_detected | No error across ten trials spanning four categories | Fall
A-2.3.1 | M2 | L2.3 | Undersized cuff, see your own error | Practice | 5 | Either | Confirmatory | B3 | The learner own prior selection, deliberately one size small | Complete a measurement with the wrong cuff | Physical, voice | Shows the erroneous value beside the true value and names the direction | marks, interpretation_response | Both values seen | Fall
A-2.3.2 | M2 | L2.3 | Oversized cuff, see your own error | Practice | 5 | Either | Confirmatory | B3 | Same, one size large | Same | Physical, voice | Same, opposite direction | marks, interpretation_response | Both values seen | Fall
A-2.3.3 | M2 | L2.3 | Predict before revealing | Assess | 4 | Either | Unaided | B3 | A stated mis-size and a patient | State the direction and rough magnitude before any measurement | Voice | Held until the prediction is given, then revealed | interpretation_response | Direction correct on 4 of 4 | Fall
A-2.4.1 | M2 | L2.4 | Placement zone, guided | Practice | 5 | G | Guided | B4 | Fossa marker and the 2 to 3 cm band rendered on the real arm | Apply the cuff inside the band, on bare skin | Physical | Band turns green when the lower edge falls inside it; index line check prompted | vision_frames, anchors | Placement inside the band | Fall
A-2.4.2 | M2 | L2.4 | Place, then confirm | Practice | 4 | G | Confirmatory | B4 | No overlay during placement | Apply the cuff, then say ready | Physical, voice | Overlay appears only after the declaration, showing the result | vision_frames | Three placements attempted | Fall
A-2.4.3 | M2 | L2.4 | Place unaided | Assess | 4 | G | Unaided | B4 | No overlay at any point | Apply the cuff and verify the index line | Physical, voice | Held | vision_frames, anchors | Correct on 3 consecutive | Fall
A-2.5.1 | M2 | L2.5 | Boundary circumference, true scale comparison | Practice | 6 | G | Confirmatory | B5 | Two candidate cuffs rendered at true physical scale beside the real arm | Compare, choose, and state the residual uncertainty | Gesture, voice | Shows the bladder ratio each choice produces and the expected error band | cuff_selected, spoken_responses | Choice made with a stated uncertainty | Fall
A-2.5.2 | M2 | L2.5 | Conical arm, justify aloud | Assess | 5 | G | Unaided | B5 | A markedly tapered arm, no guidance | Choose and justify the choice aloud | Physical, voice | Held. Justification graded against the expected reasoning set | spoken_responses | Justification names taper and residual uncertainty | Fall
A-2.5.3 | M2 | L2.5 | No cuff fits | Assess | 3 | Either | Unaided | B6 | A limb outside every available cuff range | State the action rather than proceeding | Voice | Correct action named or corrected | safety_gate_responses | Correct alternative stated | Fall
A-3.1.1 | M3 | L3.1 | Palpated estimate, guided | Practice | 5 | P | Guided | C1, E7 | Live pressure readout from the gauge reading pipeline | Palpate the radial pulse, say mark when it disappears | Physical, voice | Records the pressure at the mark and compares it later to auscultated systolic | pressure_trace, timed_hold | Three estimates taken | Fall
A-3.1.2 | M3 | L3.1 | Inflate to target, live feedback | Practice | 4 | P | Guided | C2 | A target band rendered above the palpated estimate | Inflate until inside the band | Physical | Band turns green inside target; warns on gross overinflation | pressure_trace.peak_mmhg | Target reached without exceeding by 40 | Fall
A-3.1.3 | M3 | L3.1 | Palpate and inflate unaided | Assess | 4 | P | Unaided | C1, C2 | No readout, no target band | Palpate, estimate, inflate | Physical, voice | Held | pressure_trace | Peak at or above estimate plus 30 on 3 consecutive | Fall
A-3.2.1 | M3 | L3.2 | Rate pacer | Practice | 5 | P | Guided | C3, C4 | A moving target marker descending at 2.5 mmHg per second beside the real needle | Match the needle to the pacer | Physical | Live deviation indicator, no words | pressure_trace.mean_rate | Within band for 80 percent of the descent | Fall
A-3.2.2 | M3 | L3.2 | Rate feedback after the fact | Practice | 5 | P | Confirmatory | C3, C5, C6 | No pacer during the descent | Deflate at what feels correct | Physical | After the attempt, the rate curve is shown with excursions marked | pressure_trace, rate_excursions | Three attempts, self corrected | Fall
A-3.2.3 | M3 | L3.2 | Rate unaided, no excursions | Assess | 5 | P | Unaided | C3, C5 | Nothing rendered | Deflate, fully, once | Physical | Held | pressure_trace, reinflation_events | In band with zero excursions on 3 consecutive | Fall
A-3.2.4 | M3 | L3.2 | Why rate matters | Assess | 3 | Either | Unaided | C4 | A prompt asking about underinflation and over rapid deflation | Explain both consequences | Voice | Graded against the expected reasoning set | interpretation_response | Both consequences and directions stated | Fall
A-3.3.1 | M3 | L3.3 | Listen only, phases labelled | Present | 6 | P | Guided | D2, D3, D8 | A recorded case playing with phases labelled as they occur, no marking asked | Listen. No performance | None | Labels appear in time with the sounds | case_listened | Two cases heard end to end | Fall
A-3.3.2 | M3 | L3.3 | Stethoscope placement, tracked | Practice | 5 | G | Guided | D1 | Brachial artery position marked on the real arm | Place the chestpiece and hold | Physical | Live proximity indicator; warns if above the cuff edge | chestpiece_track | Within tolerance for 10 seconds | Fall
A-3.3.3 | M3 | L3.3 | Placement unaided | Assess | 4 | G | Unaided | D1 | No marker | Place and hold | Physical | Held | chestpiece_track | Within tolerance on 3 consecutive | Fall
A-3.4.1 | M3 | L3.4 | Mark with numeric readout | Practice | 6 | P | Guided | D2, D3 | Live numeric pressure beside the real needle | Say mark at first and last sound | Voice | Immediate error in mmHg against ground truth | marks | Four attempts | Fall
A-3.4.2 | M3 | L3.4 | Mark from the dial | Practice | 6 | P | Confirmatory | D2, D3 | Real needle only, no numbers | Say mark twice | Voice | Error revealed after the attempt | marks | Four attempts | Fall
A-3.4.3 | M3 | L3.4 | Sound only, gauge occluded | Practice | 6 | G | Sound only | D2, D3 | The gauge is occluded by dimming plus an opaque patch. Nothing to look at. | Say mark on hearing the change | Voice | Value revealed after each mark, with the error | marks, scaffold_state | Within 6 mmHg on 3 of 4 | Fall
A-3.4.4 | M3 | L3.4 | Full attempt unaided, scored | Assess | 8 | P | Unaided | A4, A6, A7, D2, D3, D6 | Nothing rendered. Real patient, real equipment, no aids of any kind. | Perform the entire procedure end to end, from rest period to mark | Physical, voice | Held until the interpretation step | marks | Within 4 mmHg on 3 consecutive, two cases | Fall
A-3.5.1 | M3 | L3.5 | Reading between graduations | Practice | 4 | P | Guided | D6 | Still frames of a needle at values ending in 2, 4, 6 and 8 | Read each to the nearest 2 mmHg | Tap, voice | Immediate. Names rounding when it occurs | marks | Eight frames read | Fall
A-3.5.2 | M3 | L3.5 | Rounding trend review | Reflect | 4 | G | n/a | D6, F1 | The learner own last ten values plotted by terminal digit | Inspect, then state a corrective strategy | Voice | Shows the distribution against chance; no pass or fail | terminal_digit_bias | Strategy stated | Fall
A-3.6.1 | M3 | L3.6 | Auscultatory gap | Practice | 6 | P | Confirmatory | D4 | A case containing an authored gap, no warning given | Measure normally | Physical, voice | If systolic was read below the gap, shows what happened and why | marks, interpretation_response | Gap identified and explained | Spring
A-3.6.2 | M3 | L3.6 | Phase four discrimination | Practice | 6 | P | Guided | D5 | A case with a clear muffling point, phase four and five both labelled | Mark both, and state when phase four is recorded | Voice | Immediate, with the populations named | marks, interpretation_response | Both marked, populations stated | Spring
A-3.6.3 | M3 | L3.6 | Irregular rhythm | Practice | 6 | P | Confirmatory | D7 | An atrial fibrillation case, no warning given | Measure normally | Physical, voice | Asks what the learner noticed before explaining anything | marks, interpretation_response | Irregularity recognised unprompted | Spring
A-3.6.4 | M3 | L3.6 | Inaudible sounds | Assess | 4 | Either | Unaided | D8 | A case where sounds are faint and ambiguous | State the corrective actions available | Voice | Graded against the expected action set | interpretation_response | Three corrections named | Fall
A-3.6.5 | M3 | L3.6 | Variation unaided, scored | Assess | 8 | P | Unaided | D4, D5, D7 | A randomised case drawn from the pathology set, with no indication of which | Measure and report what was heard | Physical, voice | Held. Scores the marks and whether the abnormality was named unprompted | marks, spoken_responses | Abnormality named unprompted on 3 of 4 | Spring
A-4.1.1 | M4 | L4.1 | Classify aloud | Practice | 4 | G | Guided | E1, E4, E6 | The value just obtained, category thresholds visible | State the classification | Voice | Immediate | spoken_responses | Six values classified | Fall
A-4.1.2 | M4 | L4.1 | Classify and document, unaided | Assess | 4 | G | Unaided | E1, E2, E6 | No template visible | Dictate the documentation | Voice | Held. Checks arm, position, cuff size, time | spoken_responses | All four elements, unprompted, 3 consecutive | Fall
A-4.2.1 | M4 | L4.2 | Crisis value, unprompted escalation | Assess | 5 | G | Unaided | E4 | A measurement resolving into the crisis range. No prompt of any kind. | State the action, the recipient, and the urgency | Voice | Held. The prompted flag records whether the learner needed asking | spoken_responses.prompted | Escalation stated unprompted, in scope | Fall
A-4.2.2 | M4 | L4.2 | Hypotension and presentation | Assess | 5 | G | Unaided | E5 | A hypotensive case with a brief patient presentation | Relate value to presentation and state the action | Voice | Held | spoken_responses | Action correct and linked to presentation | Spring
A-4.3.1 | M4 | L4.3 | One reading is not a diagnosis | Practice | 3 | G | Guided | E2, E8 | A single elevated value and an invitation to conclude | State what can and cannot be concluded | Voice | Immediate | spoken_responses | Repeat requirement stated | Fall
A-4.3.2 | M4 | L4.3 | Repeat and average in irregular rhythm | Assess | 6 | G | Unaided | E3 | The arrhythmia case, after measurement | Take further readings, average, justify | Physical, voice | Held | marks, spoken_responses | Averaging performed and justified | Spring
A-4.3.3 | M4 | L4.3 | Implausible reading | Assess | 4 | Both | Unaided | E7 | A measurement inconsistent with the palpated estimate | Recognise and repeat rather than record | Voice | Held | marks, pressure_trace, spoken_responses | Repeat chosen unprompted | Fall
A-4.3.4 | M4 | L4.3 | Difference from a prior value | Assess | 4 | G | Unaided | E8 | A documented prior reading materially different from todays | State the action | Voice | Held | spoken_responses | Correct action stated | Fall
A-5.1.1 | M5 | L5.1 | Spatial replay | Reflect | 6 | G | n/a | F2, F4 | The attempt replayed anchored in place: pressure curve beside the cuff, marks against truth, chestpiece path on the arm | Walk around it. Inspect. | Gesture | No grading. Presentation only | replay_viewed | Replay viewed end to end | Fall
A-5.1.2 | M5 | L5.1 | Attribute the error | Assess | 5 | G | Unaided | C6, F2 | The same replay, with the discrepancy highlighted but unexplained | Name the step that produced it | Voice | Confirms or corrects, with the causal chain shown | spoken_responses | Correct attribution on 3 of 4 | Fall
A-5.2.1 | M5 | L5.2 | Technique or perception | Assess | 4 | G | Unaided | F4 | Two failed attempts, one technique driven and one perceptual | Classify each | Voice | Confirms or corrects | spoken_responses | Both classified correctly | Fall
A-5.3.1 | M5 | L5.3 | Choose the next practice | Reflect | 4 | G | n/a | F3 | The learner own mastery flags across all six domains | Choose the next activity and justify | Voice | Records the choice. Does not override it | learner_selection | Choice made with a justification | Fall
|  |  | TOTAL ACTIVITIES | 61 | 295 | minutes
|  |  | Fall release minutes |  | 239
|  |  | Spring release minutes |  | 56

## Coverage
Objective coverage check
Every objective in LO-MBPT-001 must be taught by at least one Practice activity and scored by at least one Assess activity. Anything flagged below is a hole in the design, not a rounding issue.
Objective | Domain | Total activities | Practice or Present | Assess | Reflect | Fall available | Status
A1 | A | 3 | 1 | 2 | 0 | 2 | OK
A2 | A | 2 | 1 | 1 | 0 | 2 | OK
A3 | A | 2 | 1 | 1 | 0 | 2 | OK
A4 | A | 2 | 1 | 1 | 0 | 2 | OK
A5 | A | 2 | 1 | 1 | 0 | 1 | OK
A6 | A | 2 | 1 | 1 | 0 | 2 | OK
A7 | A | 3 | 2 | 1 | 0 | 2 | OK
B1 | B | 3 | 2 | 1 | 0 | 3 | OK
B2 | B | 3 | 2 | 1 | 0 | 3 | OK
B3 | B | 3 | 2 | 1 | 0 | 3 | OK
B4 | B | 3 | 2 | 1 | 0 | 3 | OK
B5 | B | 2 | 1 | 1 | 0 | 2 | OK
B6 | B | 2 | 1 | 1 | 0 | 2 | OK
C1 | C | 2 | 1 | 1 | 0 | 2 | OK
C2 | C | 2 | 1 | 1 | 0 | 2 | OK
C3 | C | 3 | 2 | 1 | 0 | 3 | OK
C4 | C | 2 | 1 | 1 | 0 | 2 | OK
C5 | C | 2 | 1 | 1 | 0 | 2 | OK
C6 | C | 2 | 1 | 1 | 0 | 2 | OK
D1 | D | 2 | 1 | 1 | 0 | 2 | OK
D2 | D | 5 | 4 | 1 | 0 | 5 | OK
D3 | D | 5 | 4 | 1 | 0 | 5 | OK
D4 | D | 2 | 1 | 1 | 0 | 0 | Spring only
D5 | D | 2 | 1 | 1 | 0 | 0 | Spring only
D6 | D | 3 | 1 | 1 | 1 | 3 | OK
D7 | D | 2 | 1 | 1 | 0 | 0 | Spring only
D8 | D | 2 | 1 | 1 | 0 | 2 | OK
E1 | E | 2 | 1 | 1 | 0 | 2 | OK
E2 | E | 2 | 1 | 1 | 0 | 2 | OK
E3 | E | 1 | 0 | 1 | 0 | 0 | Spring only
E4 | E | 2 | 1 | 1 | 0 | 2 | OK
E5 | E | 1 | 0 | 1 | 0 | 0 | Spring only
E6 | E | 2 | 1 | 1 | 0 | 2 | OK
E7 | E | 2 | 1 | 1 | 0 | 2 | OK
E8 | E | 2 | 1 | 1 | 0 | 2 | OK
F1 | F | 1 | 0 | 0 | 1 | 1 | OK, trend measure
F2 | F | 2 | 0 | 1 | 1 | 2 | OK
F3 | F | 1 | 0 | 0 | 1 | 1 | OK, trend measure
F4 | F | 2 | 0 | 1 | 1 | 2 | OK
Objectives not covered at all |  | 0
Objectives taught but never scored |  | 0
Objectives scored without any practice first |  | 0
Objectives unavailable until spring |  | 5
Objectives fully served in the fall release |  | 34

## SessionFlow
Session flow, a forty five minute skills laboratory rotation
One shared AURA unit rotating across four learners while the others practise on phones. This is the deployment model that makes the glasses affordable, and it constrains the user experience, so it is designed here.
Minute | Learner 1 | Learner 2, 3, 4 | Partner role | Device in use | Design note
0 to 5 | Orientation and equipment check | Same, on their own phones | Observes | Phone | Everyone starts together. Gauge zero check doubles as an equipment safety habit.
5 to 15 | Phone practice, deflation rate and marking | Same | Holds the phone, calls out nothing | Phone | The partner holding the phone becomes an observer with a defined role rather than a passive arm.
15 to 25 | AURA checkpoint: measure, select, apply, place | Continue phone practice | Presents the arm | Glasses | The glasses carry the scored spatial checkpoint. Ten minutes is enough for B1, B2, B4 and D1.
25 to 33 | AURA checkpoint: interpret and act | Continue phone practice | Presents the arm and a brief history | Glasses | Domain E spoken, hands on the equipment. This is the block that has never had a home before.
33 to 40 | AURA debrief: spatial replay and attribution | Continue phone practice | Observes the replay alongside | Glasses | The partner watching the replay is a second learner getting most of the benefit for free.
40 to 45 | Handover, next practice chosen | Learner 2 takes the glasses | Rotates | Both | Handover is a designed step, not an interruption. The spatial anchor must survive a wearer change.
WHAT THIS FLOW ASSUMES
One AURA unit serves four learners in a forty five minute rotation, because nineteen of its objectives are checkpoint and debrief objectives rather than practice objectives.
Practice happens on phones the learners already own. The glasses are where scored assessment and debrief happen.
Handover must be under sixty seconds including anchor re-establishment, or the rotation collapses. This is validation item V-5.
The partner is never idle. Holding the phone, presenting the arm, and watching the replay are all designed roles.

## MediaAssets
Class A clinical case production tracker
One row per case. Status drives the Blocked column, which tells you exactly which activities cannot ship. Yellow cells are inputs; update Status as production progresses.
Case ID | Condition | Priority | Unlocks objectives | Blocked activities | Recruitment | Status | Consent ref | Raters agreed | Accepted
C001 | Normotensive adult | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C002 | Stage two hypertension | Have | D2, D3, E1 |  | Complete | Accepted | on file | yes | Y
C003 | Normotensive, second subject | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C004 | Existing case 4 | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C005 | Existing case 5 | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C006 | Existing case 6 | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C007 | Existing case 7 | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C008 | Existing case 8 | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C009 | Existing case 9 | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C010 | Existing case 10 | Have | D2, D3 |  | Complete | Accepted | on file | yes | Y
C011 | Atrial fibrillation, rate controlled | 1 | D7, E3 | A-3.6.3, A-3.6.5, A-4.3.2 | Community volunteer, over 70 | Not started |  |  | N
C012 | Auscultatory gap | 2 | D4 | A-3.6.1, A-3.6.5 | Screen candidates, cannot recruit by diagnosis | Not started |  |  | N
C013 | Hypotension, orthostatic | 3 | E5 | A-4.2.2 | Community volunteer | Not started |  |  | N
C014 | Phase four muffling | 4 | D5 | A-3.6.2, A-3.6.5 | Pregnancy or high output state | Not started |  |  | N
C015 | Large arm, large adult cuff | 5 | B2 reinforcement |  | Easy | Not started |  |  | N
C016 | Wide pulse pressure, elderly | 6 | Case variety |  | Easy | Not started |  |  | N
C017 | Paediatric, school age | 7 | Paediatric variation |  | Parental permission plus child assent. Longest lead time. | Deferred |  |  | N
| Cases accepted | 10
| Cases outstanding for full objective coverage | 6
| Activities blocked by missing cases | 8 | Counted with duplicates; A-3.6.5 appears against three cases.
PRODUCTION PIPELINE STAGES
P1 Rig built, capture protocol frozen, take log and consent form drafted.
P2 Pilot capture with two colleagues, taken end to end through to an accepted case.
P3 Site permission, consent approval, not human subjects research determination. Starts day one, runs in parallel.
P4 Capture sessions. Six subjects per day, forty five minutes each.
P5 Post production: sync against the slate, trim, verify no exposure drift.
P6 Annotation: needle read, beat onsets tagged with pressure, rhythm intervals extracted.
P7 Ground truth: three raters. Disagreement beyond 4 mmHg rejects the case rather than averaging it.
P8 Acceptance and packaging with the capture protocol block.